## Slide 1: Aspergillus PCR achieving standardisation
J Peter Donnelly PhD FRCPath
Department of Haematology
Radboud University Nijmegen Medical Centre
Nijmegen, The Netherlands

## Slide 2: Contents
Invasive fungal disease
The European Aspergillus PCR Initiative
Systematic review of Aspergillus PCR
Towards a standard
Specimens
Quality assurance programme
Design of a calibrator
Clinical validity
Future activities

## Slide 3: Invasive fungal disease

## Slide 4: Invasive infectious diseases
Host

## Slide 5: Invasive infectious diseases
Clinical features
Host

## Slide 6: Invasive infectious diseases
Clinical features
Microbiological evidence
Host

## Slide 7: Invasive infectious diseases
Clinical features
Mycological evdence
Disease
Host
Microbiological evidence

## Slide 8: Invasive infectious diseases
Microbiology reports
Radiology reports
Haematology admissions
Clinical features
Disease
Host
Microbiological evidence

## Slide 9: Invasive infectious diseases
Microbiology reports
Haematology admissions
Laboratory’s impression based on its findings
Host
Microbiological evidence

## Slide 10: Invasive infectious diseases
Radiology reports
Haematology admissions
Clinical features
Clinicians’ impression based on clinical findings
Host

## Slide 11: Invasive infectious diseases
Microbiology reports
Radiology reports
Haematology admissions
Clinical features
We need all 3 elements to obtain reliable data
Disease
Host
Microbiological evidence

## Slide 12: EORTC-IFICG & NIAID-MSG
2002

## Slide 13: Revised definitions
2008

## Slide 14: Revised EORTC/MSG definitions
“By contrast, molecular methods of detecting fungi in clinical specimens, such as PCR, were not included in the definitions because there is as yet no standard, and none of the techniques has been clinically validated.”
De Pauw et al. 2008

## Slide 15: Revised EORTC/MSG definitions
“By contrast, molecular methods of detecting fungi in clinical specimens, such as PCR, were not included in the definitions because there is as yet no standard, and none of the techniques has been clinically validated.”
“We had hoped that nucleic acid–detection tests, such as PCR, would have improved enough to incorporate the results of these tests into the definitions. However, standardization and validation have not yet been attained for these platforms”
De Pauw et al. 2008

## Slide 16: The main players in invasive fungal disease
Candida
Aspergillus
Hi Bud!
Hi pal!
Opportunity knocks!

## Slide 17: The main player………
Aspergillus

## Slide 18: The European Aspergillus PCR Initiative

## Slide 19
Contact
p.donnelly@usa.net
Sunday afternoon 25th June

## Slide 20: My qualifications
Old school microbiologist
Secretary to the EORTC/MSG definitions
Trialist of antifungal drugs
Tester of galactomannan in the clinic
Confronted with invasive aspergillosis
Communicator
Not too big an ego
Solid academic network
Willing to put in the effort

## Slide 21: My qualifications for PCR
NOT

## Slide 22: No matter we have experts…

## Slide 23: We needed……………
clinic
laboratory

## Slide 24: Complete cooperation
clinic
laboratory

## Slide 25
www.eapcri.eu

## Slide 26: Interested parties
86 participants
69 centres
24 countries

## Slide 27: Interested parties
86 participants
69 centres
24 countries

## Slide 28: Testing centres
Catriona Halliday, Westmead, Australia
Cornelia Lass-Florl, Innsbruck, Austria
Birgit Willinger, Vienna, Austria
Johan Maertens, Leuven, Belgium
Martina Lengerova, Brno, Czech
Petr Hamal, Olomouc, Czech
Daniel Codl, Prague, Czech
Sendid Boualem, Lille, France
Dieter Buchheidt, Heidelberg, Germany
Markus Ruhnke, Berlin, Germany
Maurizio Sanguinetti, Rome, Italy
Jose Palomares, Seville, Spain
Daniel Goldenberger, Basel, , Switzerland
Jacques Bille, Lausanne, Switzerland
Elisabeth Johnson, Bristol, UK
Richard Hobson, Leeds, UK
Chris Kibbler, London, UK
Samir Agrawal, London, UK
Malcolm Guiver, Manchester, UK

## Slide 29: EAPCRI Objectives/Aims
to collaborate to develop a standard for Aspergillus PCR methodology
to validate this in clinical trials
so that
PCR could be incorporated into future consensus definitions for invasive fungal disease.

## Slide 30: To each his own……
1
2
3
Off target
On target

## Slide 31: Structure of the EAPCRI
Steering committee
LAB
Working party
CLIN
Working party
STATS
Working party
Commercial
section

## Slide 32: Structure of the EAPCRI
Steering
committee
LAB
Working party
CLIN
Working party
STATS
Working party
Commercial
section

## Slide 33: Structure of the EAPCRI
Steering committee
LAB
Working party
CLIN
Working party
STATS
Working party
Commercial
section

## Slide 34: Structure of the EAPCRI
Steering committee
LAB
Working party
CLIN
Working party
STATS
Working party
Commercial
section

## Slide 35: Structure of the EAPCRI
Steering committee
LAB
Working party
CLIN
Working party
STATS
Working party
Commercial
section

## Slide 36: Structure of the EAPCRI
Steering committee
LAB
Working party
CLIN
Working party
STATS
Working party
Commercial
section

## Slide 37: Structure of the EAPCRI
Chair
Steering committee
Chair
LAB
Working party
Chair
CLIN
Working party
Chair
STATS
Working party

## Slide 38: EAPCRI Statistical Working party

## Slide 39
Mengoli et al 2009 Lancet Infect Dis 9:89-96

## Slide 40
Mengoli et al 2009 Lancet Infect Dis 9:89-96

## Slide 41
Mengoli et al 2009 Lancet Infect Dis 9:89-96
16 studies

## Slide 42
Mengoli et al 2009 Lancet Infect Dis 9:89-96
Specimen x 3
Volume x 3
Disruption x 4
Extraction x 3
PCR method x 4
Target gene x 3
Positive control x 7
Samples for +ve result x 3
16 studies
All different

## Slide 43: Aspergillus PCR – Forrest plots
Mengoli et al 2009 Lancet Infect Dis 9:89-96

## Slide 44: Aspergillus PCR – Forrest plots
Mengoli et al 2009 Lancet Infect Dis 9:89-96

## Slide 45: Aspergillus PCR – Forrest plots
Mengoli et al 2009 Lancet Infect Dis 9:89-96
9/16 “good studies”

## Slide 46: Bivariate analysis
 | DOR (95 % CI) | Sensitivity (95 % CI) | Specificity (95 % CI) | LR+ | LR-
PCR , 2 samples to define positivity | 21.33 (6.86-466.30) | 0.75 (0.54- 0.88) | 0.87 (0.78-0.93) | 6.04 | 0.28
Mengoli et al 2009 Lancet Infect Dis 9:89-96

## Slide 47: Bivariate analysis
 | DOR (95 % CI) | Sensitivity (95 % CI) | Specificity (95 % CI) | LR+ | LR-
PCR, 1 sample to define positivity | 22.11 (7.77-62.92) | 0.88 (0.75-0.94) | 0.75 (0.63-0.84) | 3.53 | 0.15
PCR , 2 samples to define positivity | 21.33 (6.86-466.30) | 0.75 (0.54- 0.88) | 0.87 (0.78-0.93) | 6.04 | 0.28
Mengoli et al 2009 Lancet Infect Dis 9:89-96

## Slide 48: Bivariate analysis
 | DOR (95 % CI) | Sensitivity (95 % CI) | Specificity (95 % CI) | LR+ | LR-
PCR, 1 sample to define positivity | 22.11 (7.77-62.92) | 0.88 (0.75-0.94) | 0.75 (0.63-0.84) | 3.53 | 0.15
PCR , 2 samples to define positivity | 21.33 (6.86-466.30) | 0.75 (0.54- 0.88) | 0.87 (0.78-0.93) | 6.04 | 0.28
Mengoli et al 2009 Lancet Infect Dis 9:89-96

## Slide 49: Differences in patient cohorts?
Halliday et al 2005
Raad et al 2002
Chart: 
White et al 2006
Chart: 
| proven/probable | possible | no IFD
Raad et al. [25] | 11 | 7 | 36
Halliday et al. [21] | 13 | 21 | 61
Chart: 
| proven/probable | possible | no IFD
Halliday et al. [21] | 13 | 21 | 61
Chart: 
| proven/probable | possible | no IFD
White et al. [27] | 14 | 40 | 149
No IFD
Possible IFD
Proven/Probable IFD
Mengoli et al 2009 Lancet Infect Dis 9:89-96

## Slide 50: Differences in patient cohorts?
Chart: 
Chart: 
| proven/probable | possible | no IFD
Raad et al. [25] | 11 | 7 | 36
Halliday et al. [21] | 13 | 21 | 61
Chart: 
| proven/probable | possible | no IFD
Halliday et al. [21] | 13 | 21 | 61
Chart: 
| proven/probable | possible | no IFD
White et al. [27] | 14 | 40 | 149
65 adults treated for haematological malignancies or recipients of an HSCT
54 adults with cancer (treated for haematological malignancies who had developed pulmonary infiltrates
203 adults treated for haematological malignancies or recipients of an HSCT
Halliday et al 2005
Raad et al 2002
White et al 2006
Mengoli et al 2009 Lancet Infect Dis 9:89-96

## Slide 51: Differences in methods?
 | Raad et al. | Halliday et al. | White et al.
Cell wall disruption | SDS, proteinase | Lyticase | Mechanical, glass beads
DNA extraction | phenol-chloroform | phenol-chloroform | MagnaPure®
TaqMan* | no | no | yes
Nested PCR | no | yes | yes
Target gene | alkaline proteinase gene mDNA | 18S rRNA | 28S rRNA
No sample for result | 1 | 1 and 2 | 2
References for methodology | Tang et al [59]; Bretagne et al. [58] | Skladny et al [43] | Williamson et al [28]
Mengoli et al 2009 Lancet Infect Dis 9:89-96

## Slide 52: Differences in methods?
 | Raad et al. | Halliday et al. | White et al.
Cell wall disruption | SDS, proteinase | Lyticase | Mechanical, glass beads
DNA extraction | phenol-chloroform | phenol-chloroform | MagnaPure®
TaqMan* | no | no | yes
Nested PCR | no | yes | yes
Target gene | alkaline proteinase gene mDNA | 18S rRNA | 28S rRNA
No sample for result | 1 | 1 and 2 | 2
References for methodology | Tang et al [59]; Bretagne et al. [58] | Skladny et al [43] | Williamson et al [28]
Mengoli et al 2009 Lancet Infect Dis 9:89-96

## Slide 53: Differences in methods?
 | Raad et al. | Halliday et al. | White et al.
Cell wall disruption | SDS, proteinase | Lyticase | Mechanical, glass beads
DNA extraction | phenol-chloroform | phenol-chloroform | MagnaPure®
TaqMan* | no | no | yes
Nested PCR | no | yes | yes
Target gene | alkaline proteinase gene mDNA | 18S rRNA | 28S rRNA
No sample for result | 1 | 1 and 2 | 2
References for methodology | Tang et al [59]; Bretagne et al. [58] | Skladny et al [43] | Williamson et al [28]
Mengoli et al 2009 Lancet Infect Dis 9:89-96

## Slide 54: Differences in methods?
 | Raad et al. | Halliday et al. | White et al.
Cell wall disruption | SDS, proteinase | Lyticase | Mechanical, glass beads
DNA extraction | phenol-chloroform | phenol-chloroform | MagnaPure®
TaqMan* | no | no | yes
Nested PCR | no | yes | yes
Target gene | alkaline proteinase gene mDNA | 18S rRNA | 28S rRNA
No sample for result | 1 | 1 and 2 | 2
References for methodology | Tang et al [59]; Bretagne et al. [58] | Skladny et al [43] | Williamson et al [28]
Mengoli et al 2009 Lancet Infect Dis 9:89-96

## Slide 55: Differences in methods?
 | Raad et al. | Halliday et al. | White et al.
Cell wall disruption | SDS, proteinase | Lyticase | Mechanical, glass beads
DNA extraction | phenol-chloroform | phenol-chloroform | MagnaPure®
TaqMan* | no | no | yes
Nested PCR | no | yes | yes
Target gene | alkaline proteinase gene mDNA | 18S rRNA | 28S rRNA
No sample for result | 1 | 1 and 2 | 2
References for methodology | Tang et al [59]; Bretagne et al. [58] | Skladny et al [43] | Williamson et al [28]
Mengoli et al 2009 Lancet Infect Dis 9:89-96

## Slide 56: Differences in methods?
 | Raad et al. | Halliday et al. | White et al.
Cell wall disruption | SDS, proteinase | Lyticase | Mechanical, glass beads
DNA extraction | phenol-chloroform | phenol-chloroform | MagnaPure®
TaqMan* | no | no | yes
Nested PCR | no | yes | yes
Target gene | alkaline proteinase gene mDNA | 18S rRNA | 28S rRNA
No sample for result | 1 | 1 and 2 | 2
References for methodology | Tang et al [59]; Bretagne et al. [58] | Skladny et al [43] | Williamson et al [28]
Mengoli et al 2009 Lancet Infect Dis 9:89-96

## Slide 57: Differences in methods?
 | Raad et al. | Halliday et al. | White et al.
Cell wall disruption | SDS, proteinase | Lyticase | Mechanical, glass beads
DNA extraction | phenol-chloroform | phenol-chloroform | MagnaPure®
TaqMan* | no | no | yes
Nested PCR | no | yes | yes
Target gene | alkaline proteinase gene mDNA | 18S rRNA | 28S rRNA
No sample for result | 1 | 1 and 2 | 2
References for methodology | Tang et al [59]; Bretagne et al. [58] | Skladny et al [43] | Williamson et al [28]
Mengoli et al 2009 Lancet Infect Dis 9:89-96

## Slide 58: Differences in methods?
 | Raad et al. | Halliday et al. | White et al.
Cell wall disruption | SDS, proteinase | Lyticase | Mechanical, glass beads
DNA extraction | phenol-chloroform | phenol-chloroform | MagnaPure®
TaqMan* | no | no | yes
Nested PCR | no | yes | yes
Target gene | alkaline proteinase gene mDNA | 18S rRNA | 28S rRNA
No sample for result | 1 | 1 and 2 | 2
References for methodology | Tang et al [59]; Bretagne et al. [58] | Skladny et al [43] | Williamson et al [28]
Mengoli et al 2009 Lancet Infect Dis 9:89-96

## Slide 59: Conclusions
Several factors might explain the variation in PCR study results
  Population under study
  Sample size
  Sample intensity
  PCR methodology
  Numbers required for a positive result

## Slide 60: Aspergillus PCR standard
Who uses my PCR?

## Slide 61: Aspergillus PCR standard
notme
not
not
notme
notme
notme
notme

## Slide 62: Aspergillus PCR standard
?

## Slide 63: Home brews

## Slide 64: EAPCRI Steering Committee

## Slide 65: Achieving standardisation
White et al 2010

## Slide 66: Achieving standardisation
White et al 2010

## Slide 67: Achieving standardisation
White et al 2010

## Slide 68: Achieving standardisation
White et al 2010

## Slide 69: Achieving standardisation
White et al 2010

## Slide 70: Achieving standardisation
White et al 2010

## Slide 71: The ISHAM Working Group The European Aspergillus PCR Initiative Foundation Joint project with the QCMD

## Slide 72: Outline of proposal
Development of an EQA scheme as defined by QCMD and EAPCRI.
On-line web based reporting system for EAPCRI participating laboratories.
QCMD will take responsibility for the storage and preparation of the EQA materials to the appropriate regulatory requirements.
Preparation of ‘on line’ reports
Notes: 72

## Slide 73: Design of a calibrator

## Slide 74: RT-PCR assays results of 12 laboratories

## Slide 75: RT-PCR assays results of 12 laboratories
1-7 x 1010 U/mL

## Slide 76: EQA Programme composition.
EQA programme design will follow the International standard for EQA provision (ISO17043).
The EQA programme design and panel composition will be determined by scientific experts selected from EAPCRI group and the assigned QCMD project team.
Notes: 76

## Slide 77: Diagnostic tests
analytical validity
clinical validity
clinical utility

## Slide 78: Diagnostic tests
analytical validity
clinical validity
clinical utility
laboratory

## Slide 79: Diagnostic tests
analytical validity
clinical validity
clinical utility
laboratory
clinic

## Slide 80: EAPCRI Laboratory Working Party

## Slide 81: Getting closer..
White et al 2010 J Clin Microbiol 48:1231-40

## Slide 82: PCT strategies tested by the EAPCRI

## Slide 83: PCT strategies tested by the EAPCRI
23 centres
13 PCR strategies

## Slide 84: EAPCRI performance
White et al 2010 J Clin Microbiol 48:1231-40

## Slide 85: EAPCRI performance
White et al 2010 J Clin Microbiol 48:1231-40

## Slide 86: EAPCRI performance
White et al 2010 J Clin Microbiol 48:1231-40

## Slide 87: EAPCRI performance
White et al 2010 J Clin Microbiol 48:1231-40

## Slide 88: Performance of centres in the EAPCRI
White et al 2010 J Clin Microbiol 48:1231-40

## Slide 89: Performance of centres in the EAPCRI
Non-compliant
White et al 2010 J Clin Microbiol 48:1231-40

## Slide 90: Performance of centres in the EAPCRI
Compliant
White et al 2010 J Clin Microbiol 48:1231-40

## Slide 91: Factors with most influence on PCR
Covariate | t | P
Compliant with extraction method | 2.69 | 0.018
Blood volume used | 0.22 | 0.829
RCLB | 1.12 | 0.285
WCLB | 2.08 | 0.058
NaOH | 1.59 | 0.137
Bead beating | 2.59 | 0.023
Purification | 1.14 | 0.274
More than nine manual steps | 0.46 | 0.650
ITS | 1.54 | 0.148
18S | 1.89 | 0.082
28S | 0.48 | 0.637
Internal control PCR | 2.85 | 0.015
Elution volume | 0.75 | 0.469

## Slide 92: Factors with most influence on PCR
Covariate | t | P
Compliant with extraction method | 2.69 | 0.018
Blood volume used | 0.22 | 0.829
RCLB | 1.12 | 0.285
WCLB | 2.08 | 0.058
NaOH | 1.59 | 0.137
Bead beating | 2.59 | 0.023
Purification | 1.14 | 0.274
More than nine manual steps | 0.46 | 0.650
ITS | 1.54 | 0.148
18S | 1.89 | 0.082
28S | 0.48 | 0.637
Internal control PCR | 2.85 | 0.015
Elution volume | 0.75 | 0.469
Multivariate analysis
Positive correlation between sensitivity and: WCLB t:2.95 Bead beating Internal control PCR Negative correlation between sensitivity and: Elution volumes >100μL

## Slide 93: Specimens

## Slide 94: Recommendations for whole blood PCR
White et al. 2011 JCM Epub
≥3 ml of blood
Lyse Red and white cell
Bead-beating for lysis of fungal cells
Real time PCR platform: multi-copy target with specific probes
Duplicate testing of extracts
An Internal control PCR is essential
Preferably non-human target
Concentrations equivalent to typical fungal burdens
Controls for DNA extraction and PCR assay
Elution volume <100l
EDTA is the only anticoagulant to be used:
sodium citrate and heparin should not be used
All batches of reagents should be screened for contamination

## Slide 95: Seerum versus whole blood

## Slide 96: Recommendations for serum PCR
A minimum of 0.5mL sample
Most commercially available nucleic acid extraction systems can be used Screened for contamination and a limit of detection determined prior to clinical use.
Avoid Protocols specifically designed for testing alternative specimens types (e.g. Whole blood).
Elute in volumes <100µL.
An internal control PCR should be incorporated at the start of the extraction procedure Internal control Cq values should be representative of typical Aspergillus PCR positive results (≥35 cycles) Human DNA targets avoided due to the possibility of variable target amounts within individual specimens
A PCR positivity threshold of 43 cycles provides the greatest degree of diagnostic accuracy
White et al. 2011 JCM Epub

## Slide 97: Correlation between serum and plasma
Direct correlation between serum and plasma assay results (Ct)
Loeffler et al 2013

## Slide 98: Correlation between serum and plasma
Correlation between Ct and log10(DNA) load, copies/ml.
Loeffler et al 2013

## Slide 99: EAPCRI Clinical Working Party

## Slide 100
A phase 3, double-blind, multicenter, randomized, placebo-controlled study to assess the efficacy, safety and tolerability of prophylactic liposomal amphotericin B (Ambisome®) for the prevention of invasive fungal infections (IFI’s) in subjects receiving remission-induction chemotherapy for acute lymphoblastic leukemia (ALL)

## Slide 101: Ambiguard - objectives
Primary objective:
To determine the prophylactic efficacy of AmBisome compared to placebo in preventing IFIs in subjects with ALL undergoing remission-induction chemotherapy.

## Slide 102: Ambiguard - objectives
Primary objective:
To determine the prophylactic efficacy of AmBisome compared to placebo in preventing IFIs in subjects with ALL undergoing remission-induction chemotherapy.
Secondary objectives:
To determine the safety and tolerability of prophylactic AmBisome in subjects with ALL undergoing remission-induction chemotherapy.
To determine the impact of IFI prevention on the efficacy of remission-induction chemotherapy in subjects with AL

## Slide 103: Ambiguard - design
AmBisome 5 mg/kg
twice weekly
(n = 236)
placebo
twice weekly
(n = 118)
 |  | Proven + probable IA |  | 
 |  | Present | Absent | 
PCR result | Positive | True Positive | False Positive | Positive predictive value
 | Negative | False Negative | True Negative | Negative predictive value
 |  | Sensitivity | Specificity | 

## Slide 104: Ambiguard study - PCR test
Contractor
LAB WP
{Subcontractors}
Chair
Secretary

## Slide 105: Hofstadter’s Law
Hofstadter's Law: It always takes longer than you expect, even when you take into account Hofstadter's Law.
It always takes longer than you expect, even when you take into account Hofstadter's Law.

## Slide 106: EORTC 65091
Study title and number | 
Title | Empirical versus “pre-emptive” antifungal therapy of patients with haematological malignancies and recipients of an allogeneic HSCT following myeloablative threapy. A therapeutic phase III strategy study
Study number | 65091
EORTC classification | 1A randomized phase III (new standard of care)

## Slide 107: Translational research question
Translational research | 
Objective correlative study 1 | 
Validation of a standardised Aspergillus PCR proposed by the ISHAM Working Group EAPCRI | 
Rationale | 
Despite extensive experience in the past decade using polymerase chain reaction for diagnosing aspergillosis, the technique was not included as mycological evidence in either the first consensus definitions of invasive fungal disease or in recent revisions because there was no standardized or validated method. The analytical validity of Aspergillus PCR has been established but the clinical validity and utility remains to be determined. Consequently several research groups joined forces and formed a working party of the International Society of Human and Animal Mycology (ISHAM) to establish a standard for Aspergillus PCR testing Its clinical validation is the main objective of this correlative study. | 
Estimated sample size | All patients
Laboratory technique/expertise | European Aspergillus PCR initiative
LRD contacted | no
Name of laboratory and contact person | Jurgen Loeffler (Wurzburg, Germany) and Rosemary Barnes (Cardiff,UK)
Aspergillus PCR

## Slide 108: EORTC 65091
Timelines | 
Start | Spring 2011
Patients needed | 556
End | Summer 2014
Report | Summer 2015

## Slide 109: EAPCRI Future Initiatives

## Slide 110: Future activities
Establish for Aspergillus PCR
An international standard for screening and diagnosis in blood with and without cells
a proficiency programme
a standard for bronchoalveolar fluids and other samples

## Slide 111: www.eapcri.eu